## Slide 1
AH-500 series
Redundant System
IABG - PLCBU

## Slide 2
AH Redundant System
(AH Redundant CPU)

## Slide 3: AH Redundant System
AH Redundant CPU
  AHCPU560-EN2
AH Redundant backplane
  AHBP04MR1-5A
  AHBP06ER1-5A
  AHBP08ER1-5A
  AH CPU and backplane compatibility
  AH Redundant function introduction
  Power redundant
  CPU redundant
  Network redundant
  Cable redundant

## Slide 4: AHCPU560-EN2
SD Card type
Micro SD
Ethernet
2 * RJ45
EtherNet/IP (DLR)
Serial communication
European style terminal
RS232/RS485
Fiber module
Data sync

## Slide 5
AH Redundant System
(AH Redundant backplane)

## Slide 6: Redundant Backplane
Main redundant backplane：AHBP04MR1-5A
Extension redundant backplane：AHBP06ER1-5A、AHBP08ER1-5A
Power Redundant
AHPS05-5A
AHPS15-5A

## Slide 7: Redundant Backplane
Main redundant backplane ：AHBP04MR1-5A
Extension redundant backplane ：AHBP06ER1-5A、AHBP08ER1-5A
Cable Redundant

## Slide 8
AH Redundant System
(AH CPU and backplane compatibility)

## Slide 9: CPU and Backplane Compatibility
Backplane list |  | AHCPU5x0 | AHCPU5x1 | AHCPU560-EN2 (single mode) | AHCPU560-EN2 (Redundant mode)
Main backplane | AHBP04M1-5A | ○ | ○ | ○ | ○
 | AHBP06M1-5A | ○ | ○ | ○ | ○
 | AHBP08M1-5A | ○ | ○ | ○ | ○
 | AHBP12M1-5A | ○ | ○ | ○ | ○
Extension backplane | AHBP06E1-5A | ○ | ○ | ○ | ×
 | AHBP08E1-5A | ○ | ○ | ○ | ×
Main redundant backplane (*1) | AHBP04MRI-5A | ○ | ○ | ○ | ○
Extension redundant backplane (*1) | AHBP06ERI-5A | ○ | ○ | ○ | ○
 | AHBP08ERI-5A | ○ | ○ | ○ | ○
*1：Power redundant support |  |  |  |  | 

## Slide 10
AH Redundant System
(AH Redundant function introduction)

## Slide 11: AH Redundant System
DVS
Ext. backplane
Fiber
Ring topology
Star topology
11

## Slide 12: AH Redundant System
DVS
Ext. backplane
Fiber
Ring topology
Star topology
12
Modbus TCP
EtherNet /IP

## Slide 13: AH Redundant System
DVS
Ext. backplane
Fiber
Ring topology
Star topology
13
EtherNet /IP (DLR)

## Slide 14: Power Redundant
X
DVS
14
Ext. backplane
Fiber
Ring topology
Star topology

## Slide 15: CPU Redundant
DVS
X
Main CPU
Main CPU
Ext. backplane
Fiber
Ring topology
Star topology

## Slide 16: Cable Redundant
Main CPU
DVS
X
X
EtherNet /IP (DLR)
Ext. backplane
Fiber
Ring topology
Star topology

## Slide 17: Network Redundant
DVS
Main CPU
Main CPU
X
Modbus TCP
EtherNet /IP
Ext. backplane
Fiber
Ring topology
Star topology

## Slide 18: Smarter. Greener. Together.